## BoQ#2 Soler for Herat FHHs (hidden)
BoQ# 3- Soler Set for Herat seven FHHs
No | DESCRIPTION* |  | Number of FHH in Laghman | QTY requried for each FHHs | Total QTY | Unit Price in USD | Total Cost in USD | Remark
1 | Solar panels, 680 Watt, Jkmu or similar Grade A Minimum warranty period: 10 years after installation and successful operational test with minimum efficiency of 95% within the warranty period |  | 7 | 10 | 70 | 75 | 5250
2 | Solar frame: Supply, fabrication, and installation of metallic frame for 10 solar panels, including anti-rust treatment and oil painting. |  | 7 | 10 | 70 | 28 | 1960
3 | LP1600 LiFePO4 lithium Battery (5kWh) The LP16-48100 / 48200 Series is a professional-grade LiFePO4 Energy Storage lithium Battery |  | 7 | 1 | 7 | 600 | 4200
4 | Inverter Inverter, 6 KW, Growatt model or similar, Minimum 95% efficiency, Integrated charge controller and transformer less, MPPT/ PWM |  | 7 | 1 | 7 | 300 | 2100
5 | Cable for power transmission 16mm - in meter |  | 7 | 20 | 140 | 4 | 560
6 | Cable for power transmission from Solar to Battery 6 mm - in meter |  | 7 | 40 | 280 | 1.5 | 420
7 | Box overload Breaker, Fuse, chang over. Including all required activates |  | 7 | 1 | 7 | 100 | 700
8 | Installation services including all required fittings, fixtures, tools, and accessories as per specified locations. |  | 7 | 1 | 7 | 250 | 1750
TOTAL Price | [6 empty] | 16940
[5 empty] | Cost/FHH |  | 2420

## FHHs Summary
د افغانستان د همکارئ او پرمختیا مؤسسه موسسه همکاری و انکشاف برای افغانستان
Summary of BoQ for Herat Province 7 (FHHs)
No | Province | District Name | FHH Name | Total Cost
1 | Herat | Oba | Kabgan | 0
2 |  | Chesht-e-Sharif | Salma | 0
3 |  | Kohsan | Qazal Islam | 0
4 |  | Kohsan | Kamanah | 0
5 |  | Gulran | Asya Dayb | 0
6 |  | Gulran | Regab | 0
7 |  | Gulran | Nangabad | 0
Total |  |  |  | 0

## BoQ#1 Kabgan FHH
د افغانستان د همکارئ او پرمختیا مؤسسه موسسه همکاری و انکشاف برای افغانستان
Province: Herat ( هرات) |  | BoQ for Kabgan FHH
District: Oba ( اوبه)
FHH Name: Kabgan (کبگان)
No# | Description of Work | Unit | Quantity | Unit Cost | Total Cost | Remarks
1 | Clearing the site from unwanted materials and carrying out initial levelling, including excavation, filling, and compaction, as per technical specifications, with all required activities under the supervision of the supervising engineer. | LM | 1 |  | 0
2 | Excavation for foundation of building with transfer of extra excavated materails from project site, based on the drawing and specification with all required activities. Under the supervision of the supervising engineer. | M3 | 12.25 |  | 0
3 | Stone Masonry work by ratio 1:3 with pointing, including the work of the design along with the projecting part of the masonry work of the facade above the ground level according to the drawing and specifications with all required activities under the supervision of the supervising engineer. | M3 | 17.15 |  | 0
4 | RCC ring beam with M:200 based on the design including shuttering and steel cost with all required activites under the supervision of the supervising engineer. | M3 | 6.0025 |  | 0
5 | Backfill and compaction of the floors and around the foundations in three layers with compaction based on drawing and specification with all required activities. Under the supervision of the supervising engineer. | M3 | 14.9625 |  | 0
6 | Burnt bricks masonry work from (first class baked brick) for external and internal walls, 25cm wide with morter ratio of 1:3, according to the drawing and specifications with all required activities under the supervision of the supervising engineer. | M3 | 37.975 |  | 0
7 | Roof arch used Burnt Brick masonry work (frist class baked brick) based on the design and specifications with all required activities under the supervision of the supervising engineer. | Sqm | 50 |  | 0
8 | Exterior and interior Plastering with (1:3) of walls and ceilings of the rooms according to the design, with all required activities under the supervision of the supervising engineer. | Sqm | 260 |  | 0
9 | Plain Cement Concrete (PCC) M200 with thickness 7cm for the floor of the new room, above the brick arches, sidewalks, with all required activities under the supervision of the supervising engineer. | M3 | 9 |  | 0
10 | 100% three-coat plastic paint, including lining, for interior and exterior walls highly quality for new rooms, with all required activites. Under the supervision of the supervising engineer. | Sqm | 260 |  | 0
11 | Preparation and instaallation of PVC 7000 doors and windows with double glass, with hunge, door lock best quality type , as per the design, and repair of existing building door locks, handles, and cylinder locks, including oil painting and with all required activites. Under the supervision of the supervising engineer. | Sqm | 26 |  | 0
12 | Supply and installation of I-shaped steel beams (100 kg) on the roofs arches of the window and doors of the rooms according to the design and specifications, with all required activities under the supervision of the supervising engineer, | m | 85 |  | 0
13 | Supply and installation of Izogam 4 mm thickness for bathroom floors and roof slabs, including surface preparation, proper overlapping, sealing of joints, and with all required activities under the supervision of the supervising engineer, | Sqm | 65 |  | 0
14 | Preparation and installation of tiles with dimentions (30cm*60cm) in the interior walls (Delivery Room and Toilet) to a height of 1.2 meter and installation of ceramic tiles with dimentions (30cm*30cm) in the courtyard of (Delivery Room and Toilet) with ratio of 1:3 with all required activities under the supervision of the supervising engineer, | Sqm | 50 |  | 0
15 | Preparation and installation of complete electrical system including 12W ceiling light fixtures with holders, double pole switches, socket, exhaust fan 30*30 for bathroom, junction boxes, circuit breakers with distribution board (fuse box), wiring using 2×1.5 mm² two-color, installed flexible conduit (corrugated pipe), including all necessary accessories, connections, fixing, testing as approved specifications with all required activities under the supervision of the supervising engineer, | LM | 1 |  | 0
16 | Supply and installation of complete water supply and sanitary system using PPR and PVC pipes with all required fittings and accessories, including installation of one wash hand basin with mixer tap, soap/shampoo holder in delivery room, floor drain, installation of WC (commode) with flush tank, double bib tap, Muslim shower, toilet paper holder, including all connections, fixing, testing asapproved specifications with all required activities under the supervision of the supervising engineer, | LM | 1 |  | 0
17 | Digging of a septic pits for toilets at a depth of 4 meters, The work shall include all necessary activities such as excavation, construction of concrete curb, installation of manhole, backfilling, compaction, and disposal of surplus materials.All works shall be carried out in accordance with the approved drawings, technical specifications, and under the direct supervision of the supervising engineer. | LM | 1 |  | 0
18 | Construction of an incinerator along with excavation of three (3) pits including Ash Pit, Placenta Pit, and Tube Well, each with a depth of 3.0 meters. The work shall include all necessary activities such as excavation, construction of concrete curb, installation of manhole, backfilling, compaction, and disposal of surplus materials.All works shall be carried out in accordance with the approved drawings, technical specifications, and under the direct supervision of the supervising engineer. | LM | 1 |  | 0
19 | Renovation of existing building including repairing of solar water heater system, electrical system, and plumbing system. The work shall also include plastering, installation of waterproofing (Isogam), plain cement concrete (PCC) works, interior and exterior painting, fixing and replacement of ceramic and tile works, adjustment and repair of door locks, and all other necessary related activities as per specifications. | LM | 1 |  | 0
Grand Total |  |  |  |  | 0
Note: AADA reserves the right to increase, decrease, or modify the scope of renovation works, including but not limited to:
1- Adjustments in quantities of materials (e.g., tiles, paint, fixtures).
2- Changes in work specifications (e.g., upgrading finishes, adding safety features).
3- Addition or omission of specific tasks (e.g., expanding electrical work, reducing non-critical repairs).

## BoQ#2 Salma FHH
د افغانستان د همکارئ او پرمختیا مؤسسه موسسه همکاری و انکشاف برای افغانستان
Province: Herat (هرات) |  | BoQ for Salma FHH
District: Chesht Sharif (چیشت شریف)
FHH Name: Salma (سلما)
No# | Description of Work | Unit | Quantity | Unit Cost | Total Cost | Remarks
1 | Clearing the site from unwanted materials and carrying out initial levelling, including excavation, filling, and compaction, as per technical specifications, with all required activities under the supervision of the supervising engineer. | LM | 1 |  | 0
2 | Excavation for foundation of building with transfer of extra excavated materails from project site, based on the drawing and specification with all required activities. Under the supervision of the supervising engineer. | M3 | 12.25 |  | 0
3 | Stone Masonry work by ratio 1:3 with pointing, including the work of the design along with the projecting part of the masonry work of the facade above the ground level according to the drawing and specifications with all required activities under the supervision of the supervising engineer. | M3 | 17.15 |  | 0
4 | RCC ring beam with M:200 based on the design including shuttering and steel cost with all required activites under the supervision of the supervising engineer. | M3 | 6.0025 |  | 0
5 | Backfill and compaction of the floors and around the foundations in three layers with compaction based on drawing and specification with all required activities. Under the supervision of the supervising engineer. | M3 | 14.9625 |  | 0
6 | Burnt bricks masonry work from (first class baked brick) for external and internal walls, 25cm wide with morter ratio of 1:3, according to the drawing and specifications with all required activities under the supervision of the supervising engineer. | M3 | 37.975 |  | 0
7 | Roof arch used Burnt Brick masonry work (frist class baked brick) based on the design and specifications with all required activities under the supervision of the supervising engineer. | Sqm | 50 |  | 0
8 | Exterior and interior Plastering with (1:3) of walls and ceilings of the rooms according to the design, with all required activities under the supervision of the supervising engineer. | Sqm | 260 |  | 0
9 | Plain Cement Concrete (PCC) M200 with thickness 7cm for the floor of the new room, above the brick arches, sidewalks, with all required activities under the supervision of the supervising engineer. | M3 | 9 |  | 0
10 | 100% three-coat plastic paint, including lining, for interior and exterior walls highly quality for new rooms, with all required activites. Under the supervision of the supervising engineer. | Sqm | 260 |  | 0
11 | Preparation and instaallation of PVC 7000 doors and windows with double glass, with hunge, door lock best quality type , as per the design, and repair of existing building door locks, handles, and cylinder locks, including oil painting and with all required activites. Under the supervision of the supervising engineer. | Sqm | 26 |  | 0
12 | Supply and installation of I-shaped steel beams (100 kg) on the roofs arches of the window and doors of the rooms according to the design and specifications, with all required activities under the supervision of the supervising engineer, | m | 85 |  | 0
13 | Supply and installation of Izogam 4 mm thickness for bathroom floors and roof slabs, including surface preparation, proper overlapping, sealing of joints, and with all required activities under the supervision of the supervising engineer, | Sqm | 65 |  | 0
14 | Preparation and installation of tiles with dimentions (30cm*60cm) in the interior walls (Delivery Room and Toilet) to a height of 1.2 meter and installation of ceramic tiles with dimentions (30cm*30cm) in the courtyard of (Delivery Room and Toilet) with ratio of 1:3 with all required activities under the supervision of the supervising engineer, | Sqm | 50 |  | 0
15 | Preparation and installation of complete electrical system including 12W ceiling light fixtures with holders, double pole switches, socket, exhaust fan 30*30 for bathroom, junction boxes, circuit breakers with distribution board (fuse box), wiring using 2×1.5 mm² two-color, installed flexible conduit (corrugated pipe), including all necessary accessories, connections, fixing, testing as approved specifications with all required activities under the supervision of the supervising engineer, | LM | 1 |  | 0
16 | Supply and installation of complete water supply and sanitary system using PPR and PVC pipes with all required fittings and accessories, including installation of one wash hand basin with mixer tap, soap/shampoo holder in delivery room, floor drain, installation of WC (commode) with flush tank, double bib tap, Muslim shower, toilet paper holder, including all connections, fixing, testing asapproved specifications with all required activities under the supervision of the supervising engineer, | LM | 1 |  | 0
17 | Digging of a septic pits for toilets at a depth of 4 meters, The work shall include all necessary activities such as excavation, construction of concrete curb, installation of manhole, backfilling, compaction, and disposal of surplus materials.All works shall be carried out in accordance with the approved drawings, technical specifications, and under the direct supervision of the supervising engineer. | LM | 1 |  | 0
18 | Construction of an incinerator along with excavation of three (3) pits including Ash Pit, Placenta Pit, and Tube Well, each with a depth of 3.0 meters. The work shall include all necessary activities such as excavation, construction of concrete curb, installation of manhole, backfilling, compaction, and disposal of surplus materials.All works shall be carried out in accordance with the approved drawings, technical specifications, and under the direct supervision of the supervising engineer. | LM | 1 |  | 0
19 | Renovation of existing building including repairing of solar water heater system, electrical system, and plumbing system. The work shall also include plastering, installation of waterproofing (Isogam), plain cement concrete (PCC) works, interior and exterior painting, fixing and replacement of ceramic and tile works, adjustment and repair of door locks, and all other necessary related activities as per specifications. All works shall be carried out in accordance with the approved drawings and technical specifications, and under the direct supervision of the supervising engineer. | LM | 1 |  | 0
Grand Total |  |  |  |  | 0
Note: AADA reserves the right to increase, decrease, or modify the scope of renovation works, including but not limited to:
1- Adjustments in quantities of materials (e.g., tiles, paint, fixtures).
2- Changes in work specifications (e.g., upgrading finishes, adding safety features).
3- Addition or omission of specific tasks (e.g., expanding electrical work, reducing non-critical repairs).

## BoQ#3 Qazal Islam FHH
د افغانستان د همکارئ او پرمختیا مؤسسه موسسه همکاری و انکشاف برای افغانستان
Province: Herat (هرات) |  | BoQ for Qazel Islam FHH
District: Kohsan (کوهسان)
FHH Name: Qazal Islam (قزل اسلام)
No# | Description of Work | Unit | Quantity | Unit Cost | Total Cost | Remarks
1 | Clearing the site from unwanted materials and carrying out initial levelling, including excavation, filling, and compaction, as per technical specifications, with all required activities under the supervision of the supervising engineer. | LM | 1 |  | 0
2 | Excavation for foundation of building with transfer of extra excavated materails from project site, based on the drawing and specification with all required activities. Under the supervision of the supervising engineer. | M3 | 12.25 |  | 0
3 | Stone Masonry work by ratio 1:3 with pointing, including the work of the design along with the projecting part of the masonry work of the facade above the ground level according to the drawing and specifications with all required activities under the supervision of the supervising engineer. | M3 | 17.15 |  | 0
4 | RCC ring beam with M:200 based on the design including shuttering and steel cost with all required activites under the supervision of the supervising engineer. | M3 | 6.0025 |  | 0
5 | Backfill and compaction of the floors and around the foundations in three layers with compaction based on drawing and specification with all required activities. Under the supervision of the supervising engineer. | M3 | 14.9625 |  | 0
6 | Burnt bricks masonry work from (first class baked brick) for external and internal walls, 25cm wide with morter ratio of 1:3, according to the drawing and specifications with all required activities under the supervision of the supervising engineer. | M3 | 37.975 |  | 0
7 | Roof arch used Burnt Brick masonry work (frist class baked brick) based on the design and specifications with all required activities under the supervision of the supervising engineer. | Sqm | 50 |  | 0
8 | Exterior and interior Plastering with (1:3) of walls and ceilings of the rooms according to the design, with all required activities under the supervision of the supervising engineer. | Sqm | 260 |  | 0
9 | Plain Cement Concrete (PCC) M200 with thickness 7cm for the floor of the new room, above the brick arches, sidewalks, with all required activities under the supervision of the supervising engineer. | M3 | 9 |  | 0
10 | 100% three-coat plastic paint, including lining, for interior and exterior walls highly quality for new rooms, with all required activites. Under the supervision of the supervising engineer. | Sqm | 260 |  | 0
11 | Preparation and instaallation of PVC 7000 doors and windows with double glass, with hunge, door lock best quality type , as per the design, and repair of existing building door locks, handles, and cylinder locks, including oil painting and with all required activites. Under the supervision of the supervising engineer. | Sqm | 26 |  | 0
12 | Supply and installation of I-shaped steel beams (100 kg) on the roofs arches of the window and doors of the rooms according to the design and specifications, with all required activities under the supervision of the supervising engineer, | m | 85 |  | 0
13 | Supply and installation of Izogam 4 mm thickness for bathroom floors and roof slabs, including surface preparation, proper overlapping, sealing of joints, and with all required activities under the supervision of the supervising engineer, | Sqm | 65 |  | 0
14 | Preparation and installation of tiles with dimentions (30cm*60cm) in the interior walls (Delivery Room and Toilet) to a height of 1.2 meter and installation of ceramic tiles with dimentions (30cm*30cm) in the courtyard of (Delivery Room and Toilet) with ratio of 1:3 with all required activities under the supervision of the supervising engineer, | Sqm | 50 |  | 0
15 | Preparation and installation of complete electrical system including 12W ceiling light fixtures with holders, double pole switches, socket, exhaust fan 30*30 for bathroom, junction boxes, circuit breakers with distribution board (fuse box), wiring using 2×1.5 mm² two-color, installed flexible conduit (corrugated pipe), including all necessary accessories, connections, fixing, testing as approved specifications with all required activities under the supervision of the supervising engineer, | LM | 1 |  | 0
16 | Supply and installation of complete water supply and sanitary system using PPR and PVC pipes with all required fittings and accessories, including installation of one wash hand basin with mixer tap, soap/shampoo holder in delivery room, floor drain, installation of WC (commode) with flush tank, double bib tap, Muslim shower, toilet paper holder, including all connections, fixing, testing asapproved specifications with all required activities under the supervision of the supervising engineer, | LM | 1 |  | 0
17 | Digging of a septic pits for toilets at a depth of 4 meters, The work shall include all necessary activities such as excavation, construction of concrete curb, installation of manhole, backfilling, compaction, and disposal of surplus materials.All works shall be carried out in accordance with the approved drawings, technical specifications, and under the direct supervision of the supervising engineer. | LM | 1 |  | 0
18 | Construction of an incinerator along with excavation of three (3) pits including Ash Pit, Placenta Pit, and Tube Well, each with a depth of 3.0 meters. The work shall include all necessary activities such as excavation, construction of concrete curb, installation of manhole, backfilling, compaction, and disposal of surplus materials.All works shall be carried out in accordance with the approved drawings, technical specifications, and under the direct supervision of the supervising engineer. | LM | 1 |  | 0
19 | Renovation of existing building including repairing of solar water heater system, electrical system, and plumbing system. The work shall also include plastering, installation of waterproofing (Isogam), plain cement concrete (PCC) works, interior and exterior painting, fixing and replacement of ceramic and tile works, adjustment and repair of door locks, and all other necessary related activities as per specifications. All works shall be carried out in accordance with the approved drawings and technical specifications, and under the direct supervision of the supervising engineer. | LM | 1 |  | 0
Grand Total |  |  |  |  | 0
Note: AADA reserves the right to increase, decrease, or modify the scope of renovation works, including but not limited to:
1- Adjustments in quantities of materials (e.g., tiles, paint, fixtures).
2- Changes in work specifications (e.g., upgrading finishes, adding safety features).
3- Addition or omission of specific tasks (e.g., expanding electrical work, reducing non-critical repairs).

## BoQ#4 Kamanah FHH
د افغانستان د همکارئ او پرمختیا مؤسسه موسسه همکاری و انکشاف برای افغانستان
Province: Herat ( هرات) |  | BoQ for Kamanah FHH
District: Kohsan (کوهسان)
FHH Name: Kamanah (کمانه)
No# | Description of Work | Unit | Quantity | Unit Cost | Total Cost | Remarks
1 | Clearing the site from unwanted materials and carrying out initial levelling, including excavation, filling, and compaction, as per technical specifications, with all required activities under the supervision of the supervising engineer. | LM | 1 |  | 0
2 | Excavation for foundation of building with transfer of extra excavated materails from project site, based on the drawing and specification with all required activities. Under the supervision of the supervising engineer. | M3 | 12.25 |  | 0
3 | Stone Masonry work by ratio 1:3 with pointing, including the work of the design along with the projecting part of the masonry work of the facade above the ground level according to the drawing and specifications with all required activities under the supervision of the supervising engineer. | M3 | 17.15 |  | 0
4 | RCC ring beam with M:200 based on the design including shuttering and steel cost with all required activites under the supervision of the supervising engineer. | M3 | 6.0025 |  | 0
5 | Backfill and compaction of the floors and around the foundations in three layers with compaction based on drawing and specification with all required activities. Under the supervision of the supervising engineer. | M3 | 14.9625 |  | 0
6 | Burnt bricks masonry work from (first class baked brick) for external and internal walls, 25cm wide with morter ratio of 1:3, according to the drawing and specifications with all required activities under the supervision of the supervising engineer. | M3 | 37.975 |  | 0
7 | Roof arch used Burnt Brick masonry work (frist class baked brick) based on the design and specifications with all required activities under the supervision of the supervising engineer. | Sqm | 50 |  | 0
8 | Exterior and interior Plastering with (1:3) of walls and ceilings of the rooms according to the design, with all required activities under the supervision of the supervising engineer. | Sqm | 260 |  | 0
9 | Plain Cement Concrete (PCC) M200 with thickness 7cm for the floor of the new room, above the brick arches, sidewalks, with all required activities under the supervision of the supervising engineer. | M3 | 9 |  | 0
10 | 100% three-coat plastic paint, including lining, for interior and exterior walls highly quality for new rooms, with all required activites. Under the supervision of the supervising engineer. | Sqm | 260 |  | 0
11 | Preparation and instaallation of PVC 7000 doors and windows with double glass, with hunge, door lock best quality type , as per the design, and repair of existing building door locks, handles, and cylinder locks, including oil painting and with all required activites. Under the supervision of the supervising engineer. | Sqm | 26 |  | 0
12 | Supply and installation of I-shaped steel beams (100 kg) on the roofs arches of the window and doors of the rooms according to the design and specifications, with all required activities under the supervision of the supervising engineer, | m | 85 |  | 0
13 | Supply and installation of Izogam 4 mm thickness for bathroom floors and roof slabs, including surface preparation, proper overlapping, sealing of joints, and with all required activities under the supervision of the supervising engineer, | Sqm | 65 |  | 0
14 | Preparation and installation of tiles with dimentions (30cm*60cm) in the interior walls (Delivery Room and Toilet) to a height of 1.2 meter and installation of ceramic tiles with dimentions (30cm*30cm) in the courtyard of (Delivery Room and Toilet) with ratio of 1:3 with all required activities under the supervision of the supervising engineer, | Sqm | 50 |  | 0
15 | Preparation and installation of complete electrical system including 12W ceiling light fixtures with holders, double pole switches, socket, exhaust fan 30*30 for bathroom, junction boxes, circuit breakers with distribution board (fuse box), wiring using 2×1.5 mm² two-color, installed flexible conduit (corrugated pipe), including all necessary accessories, connections, fixing, testing as approved specifications with all required activities under the supervision of the supervising engineer, | LM | 1 |  | 0
16 | Supply and installation of complete water supply and sanitary system using PPR and PVC pipes with all required fittings and accessories, including installation of one wash hand basin with mixer tap, soap/shampoo holder in delivery room, floor drain, installation of WC (commode) with flush tank, double bib tap, Muslim shower, toilet paper holder, including all connections, fixing, testing asapproved specifications with all required activities under the supervision of the supervising engineer, | LM | 1 |  | 0
17 | Digging of a septic pits for toilets at a depth of 4 meters, The work shall include all necessary activities such as excavation, construction of concrete curb, installation of manhole, backfilling, compaction, and disposal of surplus materials.All works shall be carried out in accordance with the approved drawings, technical specifications, and under the direct supervision of the supervising engineer. | LM | 1 |  | 0
18 | Construction of an incinerator along with excavation of three (3) pits including Ash Pit, Placenta Pit, and Tube Well, each with a depth of 3.0 meters. The work shall include all necessary activities such as excavation, construction of concrete curb, installation of manhole, backfilling, compaction, and disposal of surplus materials.All works shall be carried out in accordance with the approved drawings, technical specifications, and under the direct supervision of the supervising engineer. | LM | 1 |  | 0
19 | Renovation of existing building including repairing of solar water heater system, electrical system, and plumbing system. The work shall also include plastering, installation of waterproofing (Isogam), plain cement concrete (PCC) works, interior and exterior painting, fixing and replacement of ceramic and tile works, adjustment and repair of door locks, and all other necessary related activities as per specifications. All works shall be carried out in accordance with the approved drawings and technical specifications, and under the direct supervision of the supervising engineer. | LM | 1 |  | 0
Grand Total |  |  |  |  | 0
Note: AADA reserves the right to increase, decrease, or modify the scope of renovation works, including but not limited to:
1- Adjustments in quantities of materials (e.g., tiles, paint, fixtures).
2- Changes in work specifications (e.g., upgrading finishes, adding safety features).
3- Addition or omission of specific tasks (e.g., expanding electrical work, reducing non-critical repairs).

## BoQ#5 Asya Dayab FHH
د افغانستان د همکارئ او پرمختیا مؤسسه موسسه همکاری و انکشاف برای افغانستان
Province: Herat ( هرات) |  | BoQ for Asya Dayab FHH
District: Gulran (گلران)
FHH Name: Asya Dayab (آسیا دهیاب)
No# | Description of Work | Unit | Quantity | Unit Cost | Total Cost | Remarks
1 | Clearing the site from unwanted materials and carrying out initial levelling, including excavation, filling, and compaction, as per technical specifications, with all required activities under the supervision of the supervising engineer. | LM | 1 |  | 0
2 | Excavation for foundation of building with transfer of extra excavated materails from project site, based on the drawing and specification with all required activities. Under the supervision of the supervising engineer. | M3 | 12.25 |  | 0
3 | Stone Masonry work by ratio 1:3 with pointing, including the work of the design along with the projecting part of the masonry work of the facade above the ground level according to the drawing and specifications with all required activities under the supervision of the supervising engineer. | M3 | 17.15 |  | 0
4 | RCC ring beam with M:200 based on the design including shuttering and steel cost with all required activites under the supervision of the supervising engineer. | M3 | 6.0025 |  | 0
5 | Backfill and compaction of the floors and around the foundations in three layers with compaction based on drawing and specification with all required activities. Under the supervision of the supervising engineer. | M3 | 14.9625 |  | 0
6 | Burnt bricks masonry work from (first class baked brick) for external and internal walls, 25cm wide with morter ratio of 1:3, according to the drawing and specifications with all required activities under the supervision of the supervising engineer. | M3 | 37.975 |  | 0
7 | Roof arch used Burnt Brick masonry work (frist class baked brick) based on the design and specifications with all required activities under the supervision of the supervising engineer. | Sqm | 50 |  | 0
8 | Exterior and interior Plastering with (1:3) of walls and ceilings of the rooms according to the design, with all required activities under the supervision of the supervising engineer. | Sqm | 260 |  | 0
9 | Plain Cement Concrete (PCC) M200 with thickness 7cm for the floor of the new room, above the brick arches, sidewalks, with all required activities under the supervision of the supervising engineer. | M3 | 9 |  | 0
10 | 100% three-coat plastic paint, including lining, for interior and exterior walls highly quality for new rooms, with all required activites. Under the supervision of the supervising engineer. | Sqm | 260 |  | 0
11 | Preparation and instaallation of PVC 7000 doors and windows with double glass, with hunge, door lock best quality type , as per the design, and repair of existing building door locks, handles, and cylinder locks, including oil painting and with all required activites. Under the supervision of the supervising engineer. | Sqm | 26 |  | 0
12 | Supply and installation of I-shaped steel beams (100 kg) on the roofs arches of the window and doors of the rooms according to the design and specifications, with all required activities under the supervision of the supervising engineer, | m | 85 |  | 0
13 | Supply and installation of Izogam 4 mm thickness for bathroom floors and roof slabs, including surface preparation, proper overlapping, sealing of joints, and with all required activities under the supervision of the supervising engineer, | Sqm | 65 |  | 0
14 | Preparation and installation of tiles with dimentions (30cm*60cm) in the interior walls (Delivery Room and Toilet) to a height of 1.2 meter and installation of ceramic tiles with dimentions (30cm*30cm) in the courtyard of (Delivery Room and Toilet) with ratio of 1:3 with all required activities under the supervision of the supervising engineer, | Sqm | 50 |  | 0
15 | Preparation and installation of complete electrical system including 12W ceiling light fixtures with holders, double pole switches, socket, exhaust fan 30*30 for bathroom, junction boxes, circuit breakers with distribution board (fuse box), wiring using 2×1.5 mm² two-color, installed flexible conduit (corrugated pipe), including all necessary accessories, connections, fixing, testing as approved specifications with all required activities under the supervision of the supervising engineer, | LM | 1 |  | 0
16 | Supply and installation of complete water supply and sanitary system using PPR and PVC pipes with all required fittings and accessories, including installation of one wash hand basin with mixer tap, soap/shampoo holder in delivery room, floor drain, installation of WC (commode) with flush tank, double bib tap, Muslim shower, toilet paper holder, including all connections, fixing, testing asapproved specifications with all required activities under the supervision of the supervising engineer, | LM | 1 |  | 0
17 | Digging of a septic pits for toilets at a depth of 4 meters, The work shall include all necessary activities such as excavation, construction of concrete curb, installation of manhole, backfilling, compaction, and disposal of surplus materials.All works shall be carried out in accordance with the approved drawings, technical specifications, and under the direct supervision of the supervising engineer. | LM | 1 |  | 0
18 | Construction of an incinerator along with excavation of three (3) pits including Ash Pit, Placenta Pit, and Tube Well, each with a depth of 3.0 meters. The work shall include all necessary activities such as excavation, construction of concrete curb, installation of manhole, backfilling, compaction, and disposal of surplus materials.All works shall be carried out in accordance with the approved drawings, technical specifications, and under the direct supervision of the supervising engineer. | LM | 1 |  | 0
19 | Renovation of existing building including repairing of solar water heater system, electrical system, and plumbing system. The work shall also include plastering, installation of waterproofing (Isogam), plain cement concrete (PCC) works, interior and exterior painting, fixing and replacement of ceramic and tile works, adjustment and repair of door locks, and all other necessary related activities as per specifications. All works shall be carried out in accordance with the approved drawings and technical specifications, and under the direct supervision of the supervising engineer. | LM | 1 |  | 0
Grand Total |  |  |  |  | 0
Note: AADA reserves the right to increase, decrease, or modify the scope of renovation works, including but not limited to:
1- Adjustments in quantities of materials (e.g., tiles, paint, fixtures).
2- Changes in work specifications (e.g., upgrading finishes, adding safety features).
3- Addition or omission of specific tasks (e.g., expanding electrical work, reducing non-critical repairs).

## BoQ#6 Regab FHH
د افغانستان د همکارئ او پرمختیا مؤسسه موسسه همکاری و انکشاف برای افغانستان
Province: Herat (هرات) |  | BoQ for Regab FHH
District: Gulran (گلران)
FHH Name: Regab (ریگ آب)
No# | Description of Work | Unit | Quantity | Unit Cost | Total Cost | Remarks
1 | Clearing the site from unwanted materials and carrying out initial levelling, including excavation, filling, and compaction, as per technical specifications, with all required activities under the supervision of the supervising engineer. | LM | 1 |  | 0
2 | Excavation for foundation of building with transfer of extra excavated materails from project site, based on the drawing and specification with all required activities. Under the supervision of the supervising engineer. | M3 | 12.25 |  | 0
3 | Stone Masonry work by ratio 1:3 with pointing, including the work of the design along with the projecting part of the masonry work of the facade above the ground level according to the drawing and specifications with all required activities under the supervision of the supervising engineer. | M3 | 17.15 |  | 0
4 | RCC ring beam with M:200 based on the design including shuttering and steel cost with all required activites under the supervision of the supervising engineer. | M3 | 6.0025 |  | 0
5 | Backfill and compaction of the floors and around the foundations in three layers with compaction based on drawing and specification with all required activities. Under the supervision of the supervising engineer. | M3 | 14.9625 |  | 0
6 | Burnt bricks masonry work from (first class baked brick) for external and internal walls, 25cm wide with morter ratio of 1:3, according to the drawing and specifications with all required activities under the supervision of the supervising engineer. | M3 | 37.975 |  | 0
7 | Roof arch used Burnt Brick masonry work (frist class baked brick) based on the design and specifications with all required activities under the supervision of the supervising engineer. | Sqm | 50 |  | 0
8 | Exterior and interior Plastering with (1:3) of walls and ceilings of the rooms according to the design, with all required activities under the supervision of the supervising engineer. | Sqm | 260 |  | 0
9 | Plain Cement Concrete (PCC) M200 with thickness 7cm for the floor of the new room, above the brick arches, sidewalks, with all required activities under the supervision of the supervising engineer. | M3 | 9 |  | 0
10 | 100% three-coat plastic paint, including lining, for interior and exterior walls highly quality for new rooms, with all required activites. Under the supervision of the supervising engineer. | Sqm | 260 |  | 0
11 | Preparation and instaallation of PVC 7000 doors and windows with double glass, with hunge, door lock best quality type , as per the design, and repair of existing building door locks, handles, and cylinder locks, including oil painting and with all required activites. Under the supervision of the supervising engineer. | Sqm | 26 |  | 0
12 | Supply and installation of I-shaped steel beams (100 kg) on the roofs arches of the window and doors of the rooms according to the design and specifications, with all required activities under the supervision of the supervising engineer, | m | 85 |  | 0
13 | Supply and installation of Izogam 4 mm thickness for bathroom floors and roof slabs, including surface preparation, proper overlapping, sealing of joints, and with all required activities under the supervision of the supervising engineer, | Sqm | 65 |  | 0
14 | Preparation and installation of tiles with dimentions (30cm*60cm) in the interior walls (Delivery Room and Toilet) to a height of 1.2 meter and installation of ceramic tiles with dimentions (30cm*30cm) in the courtyard of (Delivery Room and Toilet) with ratio of 1:3 with all required activities under the supervision of the supervising engineer, | Sqm | 50 |  | 0
15 | Preparation and installation of complete electrical system including 12W ceiling light fixtures with holders, double pole switches, socket, exhaust fan 30*30 for bathroom, junction boxes, circuit breakers with distribution board (fuse box), wiring using 2×1.5 mm² two-color, installed flexible conduit (corrugated pipe), including all necessary accessories, connections, fixing, testing as approved specifications with all required activities under the supervision of the supervising engineer, | LM | 1 |  | 0
16 | Supply and installation of complete water supply and sanitary system using PPR and PVC pipes with all required fittings and accessories, including installation of one wash hand basin with mixer tap, soap/shampoo holder in delivery room, floor drain, installation of WC (commode) with flush tank, double bib tap, Muslim shower, toilet paper holder, including all connections, fixing, testing asapproved specifications with all required activities under the supervision of the supervising engineer, | LM | 1 |  | 0
17 | Digging of a septic pits for toilets at a depth of 4 meters, The work shall include all necessary activities such as excavation, construction of concrete curb, installation of manhole, backfilling, compaction, and disposal of surplus materials.All works shall be carried out in accordance with the approved drawings, technical specifications, and under the direct supervision of the supervising engineer. | LM | 1 |  | 0
18 | Construction of an incinerator along with excavation of three (3) pits including Ash Pit, Placenta Pit, and Tube Well, each with a depth of 3.0 meters. The work shall include all necessary activities such as excavation, construction of concrete curb, installation of manhole, backfilling, compaction, and disposal of surplus materials.All works shall be carried out in accordance with the approved drawings, technical specifications, and under the direct supervision of the supervising engineer. | LM | 1 |  | 0
19 | Renovation of existing building including repairing of solar water heater system, electrical system, and plumbing system. The work shall also include plastering, installation of waterproofing (Isogam), plain cement concrete (PCC) works, interior and exterior painting, fixing and replacement of ceramic and tile works, adjustment and repair of door locks, and all other necessary related activities as per specifications. All works shall be carried out in accordance with the approved drawings and technical specifications, and under the direct supervision of the supervising engineer. | LM | 1 |  | 0
Grand Total |  |  |  |  | 0
Note: AADA reserves the right to increase, decrease, or modify the scope of renovation works, including but not limited to:
1- Adjustments in quantities of materials (e.g., tiles, paint, fixtures).
2- Changes in work specifications (e.g., upgrading finishes, adding safety features).
3- Addition or omission of specific tasks (e.g., expanding electrical work, reducing non-critical repairs).

## BoQ#7 Nangabad FHH
د افغانستان د همکارئ او پرمختیا مؤسسه موسسه همکاری و انکشاف برای افغانستان
Province: Herat (هرات) |  | BoQ for Nangabad FHH
District: Gulran (گلران)
FHH Name: Nangabad (ننگ آباد)
No# | Description of Work | Unit | Quantity | Unit Cost | Total Cost | Remarks
1 | Clearing the site from unwanted materials and carrying out initial levelling, including excavation, filling, and compaction, as per technical specifications, with all required activities under the supervision of the supervising engineer. | LM | 1 |  | 0
2 | Excavation for foundation of building with transfer of extra excavated materails from project site, based on the drawing and specification with all required activities. Under the supervision of the supervising engineer. | M3 | 12.25 |  | 0
3 | Stone Masonry work by ratio 1:3 with pointing, including the work of the design along with the projecting part of the masonry work of the facade above the ground level according to the drawing and specifications with all required activities under the supervision of the supervising engineer. | M3 | 17.15 |  | 0
4 | RCC ring beam with M:200 based on the design including shuttering and steel cost with all required activites under the supervision of the supervising engineer. | M3 | 6.0025 |  | 0
5 | Backfill and compaction of the floors and around the foundations in three layers with compaction based on drawing and specification with all required activities. Under the supervision of the supervising engineer. | M3 | 14.9625 |  | 0
6 | Burnt bricks masonry work from (first class baked brick) for external and internal walls, 25cm wide with morter ratio of 1:3, according to the drawing and specifications with all required activities under the supervision of the supervising engineer. | M3 | 37.975 |  | 0
7 | Roof arch used Burnt Brick masonry work (frist class baked brick) based on the design and specifications with all required activities under the supervision of the supervising engineer. | Sqm | 50 |  | 0
8 | Exterior and interior Plastering with (1:3) of walls and ceilings of the rooms according to the design, with all required activities under the supervision of the supervising engineer. | Sqm | 260 |  | 0
9 | Plain Cement Concrete (PCC) M200 with thickness 7cm for the floor of the new room, above the brick arches, sidewalks, with all required activities under the supervision of the supervising engineer. | M3 | 9 |  | 0
10 | 100% three-coat plastic paint, including lining, for interior and exterior walls highly quality for new rooms, with all required activites. Under the supervision of the supervising engineer. | Sqm | 260 |  | 0
11 | Preparation and instaallation of PVC 7000 doors and windows with double glass, with hunge, door lock best quality type , as per the design, and repair of existing building door locks, handles, and cylinder locks, including oil painting and with all required activites. Under the supervision of the supervising engineer. | Sqm | 26 |  | 0
12 | Supply and installation of I-shaped steel beams (100 kg) on the roofs arches of the window and doors of the rooms according to the design and specifications, with all required activities under the supervision of the supervising engineer, | m | 85 |  | 0
13 | Supply and installation of Izogam 4 mm thickness for bathroom floors and roof slabs, including surface preparation, proper overlapping, sealing of joints, and with all required activities under the supervision of the supervising engineer, | Sqm | 65 |  | 0
14 | Preparation and installation of tiles with dimentions (30cm*60cm) in the interior walls (Delivery Room and Toilet) to a height of 1.2 meter and installation of ceramic tiles with dimentions (30cm*30cm) in the courtyard of (Delivery Room and Toilet) with ratio of 1:3 with all required activities under the supervision of the supervising engineer, | Sqm | 50 |  | 0
15 | Preparation and installation of complete electrical system including 12W ceiling light fixtures with holders, double pole switches, socket, exhaust fan 30*30 for bathroom, junction boxes, circuit breakers with distribution board (fuse box), wiring using 2×1.5 mm² two-color, installed flexible conduit (corrugated pipe), including all necessary accessories, connections, fixing, testing as approved specifications with all required activities under the supervision of the supervising engineer, | LM | 1 |  | 0
16 | Supply and installation of complete water supply and sanitary system using PPR and PVC pipes with all required fittings and accessories, including installation of one wash hand basin with mixer tap, soap/shampoo holder in delivery room, floor drain, installation of WC (commode) with flush tank, double bib tap, Muslim shower, toilet paper holder, including all connections, fixing, testing asapproved specifications with all required activities under the supervision of the supervising engineer, | LM | 1 |  | 0
17 | Digging of a septic pits for toilets at a depth of 4 meters, The work shall include all necessary activities such as excavation, construction of concrete curb, installation of manhole, backfilling, compaction, and disposal of surplus materials.All works shall be carried out in accordance with the approved drawings, technical specifications, and under the direct supervision of the supervising engineer. | LM | 1 |  | 0
18 | Construction of an incinerator along with excavation of three (3) pits including Ash Pit, Placenta Pit, and Tube Well, each with a depth of 3.0 meters. The work shall include all necessary activities such as excavation, construction of concrete curb, installation of manhole, backfilling, compaction, and disposal of surplus materials.All works shall be carried out in accordance with the approved drawings, technical specifications, and under the direct supervision of the supervising engineer. | LM | 1 |  | 0
19 | Renovation of existing building including repairing of solar water heater system, electrical system, and plumbing system. The work shall also include plastering, installation of waterproofing (Isogam), plain cement concrete (PCC) works, interior and exterior painting, fixing and replacement of ceramic and tile works, adjustment and repair of door locks, and all other necessary related activities as per specifications. All works shall be carried out in accordance with the approved drawings and technical specifications, and under the direct supervision of the supervising engineer. | LM | 1 |  | 0
Grand Total |  |  |  |  | 0
Note: AADA reserves the right to increase, decrease, or modify the scope of renovation works, including but not limited to:
1- Adjustments in quantities of materials (e.g., tiles, paint, fixtures).
2- Changes in work specifications (e.g., upgrading finishes, adding safety features).
3- Addition or omission of specific tasks (e.g., expanding electrical work, reducing non-critical repairs).